The Water We Drink

2012

City of Cambridge

19 February, 2015

We're pleased to present to you this year's Annual Quality Water Report. This report is designed to inform you about the quality water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water. We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources. We are committed to ensuring the quality of your water. Our water source consists of two wells that draw from a basalt aquifer. A copy of our source water protection plan is available at City Hall.

I’m pleased to report that our drinking water is safe and meets federal and state requirements.

If you have any questions about this report or concerning your water utility, please contact Ernie Houghton at (208) 257 3318. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on the second Monday of each month, 7:00 PM at City Hall.

The City of Cambridge routinely monitors for constituents in your drinking water according to Federal and State laws. This table shows the results of our monitoring for the period of January 1st to December 31st, 2012.  All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some constituents.  It's important to remember that the presence of these constituents does not necessarily pose a health risk.

In this table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Not Applicable (NA) – Information is not germane to our system or is not required.

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

Not Required (NR) – testing not required for this reporting period.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Parts per trillion (ppt) or Nanograms per liter (nanograms/l) - one part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

Parts per quadrillion (ppq) or Picograms per liter (picograms/l) - one part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Millirems per year (mrem/yr) - measure of radiation absorbed by the body.

Million Fibers per Liter (MFL) - million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Action Level - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) - (mandatory language) A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level - (mandatory language) The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - (mandatory language) The “Goal”(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

| TEST RESULTS |
| --- |
| Contaminant | Violation Y/N | Level Detected | Unit Measurement | MCLG | MCL | Likely Source of Contamination |
| Microbiological Contaminants |
| 1. Total Coliform Bacteria | N | ND | ABSENT OR PRESENT | 0 | presence of coliform bacteria in 5% of monthly samples | Naturally present in the environment |
| 2. Fecal coliform and E.coli | N | ND | ABSENT OR PRESENT | 0 | a routine sample and repeat sample are total coliform positive, and one is also fecal coliform or E. coli positive | Human and animal fecal waste |
| 3. Turbidity | NA | NA |  | n/a | TT | Soil runoff |
| Radioactive Contaminants |
| 4. Beta/photon emitters | Well #1 Well #2 | 7.0 2.8 | mREMyr | 0 | 50 | Decay of natural and man-made deposits |
| 5. Alpha emitters | N Well #1 Well #2 | 1.0+/- 0.73+/-0.82 | pCi/1 | 0 | 15 | Erosion of natural deposits |
| 6. Combined radium | Well #1 Well #2 | R226-0.6 R228-3.0 R226-<1.0 R228-<1.0 | pCi/1 | 0 | 5 | Erosion of natural deposits |
| Inorganic Contaminants |
| 7. Antimony | N | ND | ppb | 6 | 6 | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder |
| 8. Arsenic | N Well #1 Well #2 | 15* ND | ppb | n/a | 10 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| 9. Asbestos | N 8/28/07 | ND | MFL | 7 | 7 | Decay of asbestos cement water mains; erosion of natural deposits |
| 10. Barium | N |  | ppm | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| 11. Beryllium | N | ND | ppb | 4 | 4 | Discharge from metal refineries and coal-burning factories; discharge from electrical, aerospace, and defense industries |
| 12. Cadmium | N | ND | ppb | 5 | 5 | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints |
| 13. Chromium | N | ND | ppb | 100 | 100 | Discharge from steel and pulp mills; erosion of natural deposits |
| 14. Copper | N | 0.03 | ppm | 1.3 | AL=1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| 15. Cyanide | N | ND | ppb | 200 | 200 | Discharge from steel/metal factories; discharge from plastic and fertilizer factories |
| 16. Fluoride | N Well #1 Well #2 | ND 0.37 | ppm | 4 | 4 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| 17. Lead | N | ND | ppb | 0 | AL=15 | Corrosion of household plumbing systems, erosion of natural deposits |
| 18. Mercury (inorganic) | N | ND | ppb | 2 | 2 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| 19. Nitrate (as Nitrogen) | Well #1 Well #2 | ND ND | ppm | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| 20. Nitrite (as Nitrogen) | N Well#2 | ND .03 | ppm | 1 | 1 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| 21. Selenium | N | ND | ppb | 50 | 50 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| 22. Thallium | N | ND | ppb | 0.5 | 2 | Leaching from ore-processing sites; discharge from electronics, glass, and drug factories |
| Synthetic Organic Contaminants including Pesticides and Herbicides |
| 23. 2,4-D | N | ND | ppb | 70 | 70 | Runoff from herbicide used on row crops |
| 24. 2,4,5-TP (Silvex) | N | ND | ppb | 50 | 50 | Residue of banned herbicide |
| 25. Acrylamide | N | ND |  | 0 | TT | Added to water during sewage/wastewater treatment |
| 26. Alachlor | N | ND | ppb | 0 | 2 | Runoff from herbicide used on row crops |
| 27. Atrazine | N | ND | ppb | 3 | 3 | Runoff from herbicide used on row crops |
| 28. Benzo(a)pyrene (PAH) | N | ND | nanograms/1 | 0 | 200 | Leaching from linings of water storage tanks and distribution lines |
| 29. Carbofuran | N | NR | ppb | 40 | 40 | Leaching of soil fumigant used on rice and alfalfa |
| 30. Chlordane | N | ND | ppb | 0 | 2 | Residue of banned termiticide |
| 31. Dalapon | N | ND | ppb | 200 | 200 | Runoff from herbicide used on rights of way |
| 32. Di(2-ethylhexyl) adipate | N | ND | ppb | 400 | 400 | Discharge from chemical factories |
| 33. Di(2-ethylhexyl) phthalate | N | ND | ppb | 0 | 6 | Discharge from rubber and chemical factories |
| 34. Dibromochloro- propane | N | ND | nanograms/1 | 0 | 200 | Runoff/leaching from soil fumigant used on soybeans, cotton, pineapples, and orchards |
| 35. Dinoseb | N | ND | ppb | 7 | 7 | Runoff from herbicide used on soybeans and vegetables |
| 36. Diquat | N | ND | ppb | 20 | 20 | Runoff from herbicide use |
| 37. Dioxin [2,3,7,8-TCDD] | N | ND | picograms/l | 0 | 30 | Emissions from waste incineration and other combustion; discharge from chemical factories |
| 38. Endothall | N | ND | ppb | 100 | 100 | Runoff from herbicide use |
| 39. Endrin | N | ND | ppb | 2 | 2 | Residue of banned insecticide |
| 40. Epichlorohydrin | N | ND |  | 0 | TT | Discharge from industrial chemical factories; an impurity of some water treatment chemicals |
| 41.Ethylene dibromide | N | ND | nanograms/1 | 0 | 50 | Discharge from petroleum refineries |
| 42. Glyphosate | N | ND | ppb | 700 | 700 | Runoff from herbicide use |
| 43. Heptachlor | N | ND | nanograms/1 | 0 | 400 | Residue of banned termiticide |
| 44.Heptachlor epoxide | N | ND | nanograms/1 | 0 | 200 | Breakdown of heptachlor |
| 45.Hexachlorobenzene | N | ND | ppb | 0 | 1 | Discharge from metal refineries and agricultural chemical factories |
| 46.Hexachlorocyclo- pentadiene | N | ND | ppb | 50 | 50 | Discharge from chemical factories |
| 47. Lindane | N | ND | nanograms/l | 200 | 200 | Runoff/leaching from insecticide used on cattle, lumber, gardens |
| 48. Methoxychlor | N | ND | ppb | 40 | 40 | Runoff/leaching from insecticide used on fruits, vegetables, alfalfa, livestock |
| 49. Oxamyl [Vydate] | N | ND | ppb | 200 | 200 | Runoff/leaching from insecticide used on apples, potatoes and tomatoes |
| 50. PCBs [Polychlorinated biphenyls] | N | ND | nanograms/1 | 0 | 500 | Runoff from landfills; discharge of waste chemicals |
| 51. Pentachlorophenol | N | ND | ppb | 0 | 1 | Discharge from wood preserving factories |
| 52. Picloram | N | ND | ppb | 500 | 500 | Herbicide runoff |
| 53. Simazine | N | ND | ppb | 4 | 4 | Herbicide runoff |
| 54. Toxaphene | N | ND | ppb | 0 | 3 | Runoff/leaching from insecticide used on cotton and cattle |
| Volatile Organic Contaminants |
| 55. Benzene | N | ND | ppb | 0 | 5 | Discharge from factories; leaching from gas storage tanks and landfills |
| 56. Carbon tetrachloride | N | ND | ppb | 0 | 5 | Discharge from chemical plants and other industrial activities |
| 57. Chlorobenzene | N | ND | ppb | 100 | 100 | Discharge from chemical and agricultural chemical factories |
| 58. o-Dichlorobenzene | N | ND | ppb | 600 | 600 | Discharge from industrial chemical factories |
| 59. p-Dichlorobenzene | N | ND | ppb | 75 | 75 | Discharge from industrial chemical factories |
| 60. 1,2- Dichloroethane | N | ND | ppb | 0 | 5 | Discharge from industrial chemical factories |
| 61. 1,1 - Dichloroethylene | N | ND | ppb | 7 | 7 | Discharge from industrial chemical factories |
| 62. cis-1,2- Dichloroethylene | N | ND | ppb | 70 | 70 | Discharge from industrial chemical factories |
| 63. trans - 1,2 - Dichloroethylene | N | ND | ppb | 100 | 100 | Discharge from industrial chemical factories |
| 64. Dichloromethane | N | ND | ppb | 0 | 5 | Discharge from pharmaceutical and chemical factories |
| 65. 1,2- Dichloropropane | N | ND | ppb | 0 | 5 | Discharge from industrial chemical factories |
| 66. Ethylbenzene | N | ND | ppb | 700 | 700 | Discharge from petroleum refineries |
| 67. Styrene | N | ND | ppb | 100 | 100 | Discharge from rubber and plastic factories; leaching from landfills |
| 68. Tetrachloroethylene | N | ND | ppb | 0 | 5 | Leaching from PVC pipes; discharge from factories and dry cleaners |
| 69. 1,2,4- Trichlorobenzene | N | ND | ppb | 70 | 70 | Discharge from textile-finishing factories |
| 70. 1,1,1 - Trichloroethane | N | ND | ppb | 200 | 200 | Discharge from metal degreasing sites and other factories |
| 71. 1,1,2 - Trichloroethane | N | ND | ppb | 3 | 5 | Discharge from industrial chemical factories |
| 72. Trichloroethylene | N | ND | ppb | 0 | 5 | Discharge from metal degreasing sites and other factories |
| 73. TTHM [Total trihalomethanes] | N | ND | micrograms/1 | 0 | 100 | By-product of drinking water chlorination |
| 74. Toluene | N | ND | ppm | 1 | 1 | Discharge from petroleum factories |
| 75. Vinyl Chloride | N | ND | ppb | 0 | 2 | Leaching from PVC piping; discharge from plastics factories |
| 76. Xylenes | N | ND | ppm | 10 | 10 | Discharge from petroleum factories; discharge from chemical factories |

Sodium was tested for with the Inorganic Chemical Analysis. There is no MCL for Sodium. The results were:

Well #1 – 67 ppm

Well #2 – 60.5 ppm

Some constituents are allowed less than yearly monitoring. Asterisks indicate the year of the most recent testing:

*      2008-2009

Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an increased risk of getting cancer.

All sources of drinking water are subject to potential contamination by substances that are naturally occurring or man made. These substances can be microbes, inorganic or organic chemicals and radioactive substances.  All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791

MCL’s are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Thank you for allowing us to continue providing your family with clean, quality water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. These improvements are sometimes reflected as rate structure adjustments. Thank you for understanding.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Please call our office if you have questions.

We at the City of Cambridge work around the clock to provide top quality water to every tap. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

Esta informe contiene informacion muy importante sobre el agua para beber.  Traduzcalo o hable con alquien que lo entienda bien.